## comment
please note, everything with a purple fill are examples
2009-09-30 | MS | added raw data measured by class and info of std used
no data quality check was performed yet
please note that from injection 28 on, new standards were used.
the standards run until then are questionable.

## Samples summary
Sample Description
Group | Samp No. | Location/Label |  |  | Time | Sampling | Comments
| # |  |  |  |  | Date | sampling
IC-EDA-04 | 1_spring 04 | NYC Precipitation @112 & Bdwy |  |  | 8:00 | 2004-01-28 | Snow
Major Anion Concentration
Group | Samp No. | Location | Fluoride | Chloride | Nitrite | Bromide | Nitrate | Phosphate | Sulphate | Comments
| # | (abbreviated) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | measurement
IC-EDA-04y | 1_spring 04 | NYC Precip |  | 8.0354 |  |  | 0.83534 |  | 0.92347

## Samples
Major Anion Concentration
Running | Group | Sample No. | Location | injection # | dilution | Fluoride | Chloride | Nitrite | Bromide | Nitrate | Phosphate | Sulphate | Fluoride | Chloride | Nitrite | Bromide | Nitrate | Phosphate | Sulphate | Comments
No. |  | # | (abbreviated) |  | factor | (area unit) | (area unit) | (area unit) | (area unit) | (area unit) | (area unit) | (area unit) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L)
0 | IC-EDA-05 | 5 |  | 15 | 10 | 3976574 | 328484298 |  |  | 5745652 |  | 53670673 |  | 77.7065 |  |  | 1.2067 |  | 15.0864

## Standards
Standards Run During Analysis
[6 empty] | Std concentrations | [6 empty] | Measurements
Run | Std | Std | std vol | dilution | data file | Fluoride | Chloride | Nitrite | Bromide | Nitrate | Phosphate | Sulphate | Fluoride | Chloride | Nitrite | Bromide | Nitrate | Phosphate | Sulphate | Comments
No | No | name | (ml) | factor |  | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (area unit) | (area unit) | (area unit) | (area unit) | (area unit) | (area unit) | (area unit)
undiluted standard |  |  |  | 1 | - | 20 | 30 | 100 | 100 | 100 | 150 | 150 | - | - | - | - | - | - | -
0 | 5 | 5ml | 5 | 20 | green_3_1 | 1 | 1.5 | 5 | 5 | 5 | 7.5 | 7.5 | 75136492 | 64960898 | 133105271 | 97792648 | 117390074
Note on C3: Martin Stute: e,g, 300uL or 75ul

## Std Conc
Dionex Seven Anion Standard
Part # 56933
Lot # 40-116AS, Expires 7/2010
mg/L
Fluoride | 20
Chloride | 30
Nitrite | 100
Bromide | 100
Nitrate | 100
Phosphate | 150
Sulphate | 150

## raw data
run | Name: | Fluoride | Ret time | Chloride | Ret time | Nitrite | Ret time | Bromide | Ret time | Nitrate | Ret time | Phosphate | Ret time | Sulfate | Ret time
1 | DI_water |  |  | 2728217 | 3.2
2 | Standard_1.2 | 17518966.2 | 2.07 | 44832137.9 | 3.22 | 18193402 | 3.93 | 15061599 | 6.1 | 16863464.8 | 7.1 | 12498143.6 | 7.78 | 38476571 | 9.82
3 | ES_smartwater_1:10 |  |  | 51405328.2 | 3.15
4 | Standard_2.5 | 28016963.8 | 2.03 | 46113746 | 3.2 | 47822526.8 | 3.92 | 36521253.2 | 6.07 | 47024593.44 | 7.05 | 35704267.56 | 7.77 | 93335340.6 | 9.78
5 | ES_HewittTap_1:10 | 3806448.1 | 2.03 | 35377674.4 | 3.18 | [8 empty] | 11731142.3 | 9.75
6 | NY_616WaterStation_1:10 | 3767952.4 | 2.03 | 33812871.6 | 3.17 | [8 empty] | 9508097.6 | 9.85
7 | DI_water
8 | Standard_5 | 55424054.4 | 2 | 59499216.8 | 3.17 | 103258678.8 | 3.9 | 77206187.6 | 6.03 | 99006890.07 | 7 | 78094787.53 | 7.77 | 197049038.2 | 9.8
9 | NY_616_TapWater_1:10 | 4295987.8 | 2 | 39068461 | 3.17 | [8 empty] | 11984563.6 | 9.87
10 | Standard_1.2 | 14326516 | 2.02 | 31878953 | 3.17 | 19135568.8 | 3.88 | 15138746.8 | 6.03 | 20644362.83 | 7.03 | 15404205.17 | 7.78 | 38639494.6 | 9.8
11 | NY_616_Filtered_1:10 | 4777835.8 | 2.02 | 39125248 | 3.17 | [8 empty] | 9987288.2 | 9.8
12 | RKS_Alt.tap_1:10 | 5639891.4 | 2 | 39363144 | 3.18 | [8 empty] | 12688078.2 | 9.85
13 | DI_water |  |  | 2088207 | 3.18
14 | Standard_2.5 | 25143562.8 | 2.02 | 34203875.4 | 3.18 | 49569941.8 | 3.92 | 38092892 | 6.08 | 48679134.49 | 7.08 | 39732223.13 | 7.78 | 95753062.8 | 9.83
15 | RKS_TapWater_WH_1:10 | 3247407.2 | 2.02 | 39215656.2 | 3.18 | [6 empty] | 724644.2 | 7.83 | 13302008.2 | 9.87
16 | TA_1:40_NJ_TapH2O |  |  | 9807942.8 | 3.18
17 | RKS_Tapwater_MsH_1:10 | 5563526.5 | 2.02 | 44574158.6 | 3.18 |  |  |  |  | 1222101.4 | 7.15 |  |  | 12699233.9 | 9.82
18 | TA_fijH2O_1:10 | 6001921.6 | 2.05 | 49426401.2 | 3.18 |  |  |  |  | 2893336.6 | 7.08 |  |  | 4820591.6 | 9.73
19 | DI_Water | 4176149.2 | 2.07 | 14426380 | 3.2
20 | Standard_0.3 | 46251848 | 2.02 | 45744009.4 | 3.18 | 63988653.8 | 3.92 | 45774727.6 | 6.12 | 55897690.9 | 7.1 | 46398706.4 | 7.78 | 124304299.6 | 9.82
21 | AL_Croton_reservoir_1:10 |  |  | 110456342.4 | 3.18 | [8 empty] | 14234020.4 | 9.87
22 | Standard_0.6 | 54521979.6 | 2.02 | 50917503 | 3.2 | 90302142 | 3.93 | 64415819.6 | 6.12 | 82135839.91 | 7.1 | 65331414.42 | 7.85 | 175943553.2 | 9.83
23 | AL_Croton_reservoir_1:50 |  |  | 59294348.8 | 3.2 | [8 empty] | 6884547.1 | 9.88
24 | AL_Croton_tap(ground)H2O_1:10 |  |  | 253071424.4 | 3.18 | [8 empty] | 28583900.3 | 9.85
25 | DI_water |  |  | 1453216.5 | 3.2
26 | Standard_5 | 61951246.6 | 2 | 70470636.4 | 3.18 | 105576305.2 | 3.92 | 75738375.4 | 6.08 | 98103642.33 | 7.05 | 79535561.07 | 7.83 | 203653391.7 | 9.82
27 | SG_Puddle_1:50 | 3211662 | 2.07 | 21210180.6 | 3.2
28 | Standard_2.5 | 24509795.8 | 2 | 29914762.2 | 3.17 | 52846752.1 | 3.9 | 37397755 | 6.08 | 46863764.02 | 7.05 | 38122905.58 | 7.82 | 95465401.2 | 9.82
29 | SG_Pond_1:50 | 3747136.6 | 2.07 | 46509933.2 | 3.2
30 | ACJ_NYC_tap_1:10 | 3895474 | 2.03 | 42213958.6 | 3.2 | [8 empty] | 13011248 | 9.88
31 | DI_Water |  |  | 3569047 | 3.2
32 | Standard_1.2 | 13248006.2 | 2.03 | 18391802 | 3.22 | 24039643.2 | 3.93 | 18567893.4 | 6.15 | 23160239.42 | 7.15 | 18069258.43 | 7.87 | 46832416 | 9.85
33 | ACJ_Cranury_tap_1:10 | 4304242.5 | 2.02 | 19890245.2 | 3.22 |  |  |  |  | 14964571.1 | 7.18
34 | Standard_0.6 | 6375508.4 | 2.05 | 12349076.6 | 3.22 | 7556964.9 | 3.93 | 6866387.8 | 6.17 | 12280065.39 | 7.18 | 6152784.51 | 7.92 | 18951596.6 | 9.9
35 | ACJ_Maplewood_tap_1:10 |  |  | 341327913.1 | 3.22 |  |  |  |  | 3718437 | 7.25 |  |  | 130484259 | 9.87
36 | ACJ_Princeton_tap_1:10 | 5674309.4 | 2.03 | 202344318.1 | 3.22 |  |  |  |  | 13109796.2 | 7.22 |  |  | 154505859.8 | 9.83
37 | DI_water |  |  | 1961422 | 3.22
38 | Standard_0.3 | 7135516 | 2.05 | 17869389 | 3.22 | 6029097.8 | 3.93 | 4823377.2 | 6.2 | 6467063.09 | 7.23 | 4577490.21 | 7.83 | 11857973.5 | 9.85
39 | SH_HR_4:45_9123_1:1000 | 4921760.5 | 2.3 | 357823641.4 | 3.23 | [8 empty] | 31092316.4 | 9.87
40 | Standard_5 | 56201371.6 | 2.02 | 55464173.4 | 3.22 | 107899984.7 | 3.97 | 75100237.1 | 6.2 | 96110666.31 | 7.18 | 81934624.28 | 7.87 | 202175099 | 9.82
41 | SH_HR_1:45_9127_1:1000 | 2902068.4 | 2.33 | 130920775.2 | 3.23 | [8 empty] | 12960733.1 | 9.88
42 | E_The_Lake_Central_Park_1:10 | 3602034 | 2.03 | 79303761.2 | 3.22 | [8 empty] | 33185127 | 9.8
43 | DI_water |  |  | 2324446 | 3.23
44 | Standard_5 | 56354328.8 | 2.02 | 54389287.8 | 3.22 | 109997432.2 | 3.97 | 77045734.9 | 6.2 | 97353539.57 | 7.18 | 80735753.73 | 7.85 | 205220561.6 | 9.82
45 | E_Conservatory_CentralPark_1:1 | 4076598.1 | 2.03 | 52534243.9 | 3.23 | [8 empty] | 15306849.6 | 9.85
46 | Standard_1.2 | 12142026.6 | 2.03 | 15185218.2 | 3.23 | 23543133 | 3.97 | 17345318.1 | 6.22 | 23204710.16 | 7.22 | 19617870.34 | 7.85 | 47448680.7 | 9.83
47 | E_Harlem_Central_Park_1:10 | 3732991 | 2.05 | 191905421.4 | 3.22 | [8 empty] | 27900690.9 | 9.85
48 | E_The_Pond_Central_Park_1:10 | 3247248.5 | 2.05 | 56987201.9 | 3.25 | [8 empty] | 16859260.2 | 9.9
49 | DI_water |  |  | 2754784.4 | 3.23
50 | Standard_0.3 | 5649592 | 2.08 | 14235959.8 | 3.25 | 5269520.9 | 4 | 5132288 | 6.25 | 5597615.13 | 7.32 | 5141280.87 | 7.9 | 12000888.8 | 9.88
51 | KN_Comer_Tap_1:10 |  |  | 649922042 | 3.25 |  |  |  |  | 2857596.2 | 7.32 |  |  | 63360196.5 | 9.85
52 | Standard_5 | 51215518.8 | 2.03 | 54254006.8 | 3.25 | 111593153.2 | 4 | 76568958.8 | 6.27 | 96183083.41 | 7.25 | 81227306.09 | 7.88 | 208041454.8 | 9.83
53 | KN_115_and_way_1:10 | 2092874.2 | 2.1 | 37643254.8 | 3.27 | [8 empty] | 12296734 | 9.87
54 | AJC_EC_faucet_1:10 | 57005246.1 | 2.05 | 460386355.2 | 3.27 |  |  |  |  | 7708558.6 | 7.3 | 16050976.6 | 7.9 | 131694699.2 | 9.85
55 | DI_Water |  |  | 1753274.1 | 3.27
56 | Standard_0.6 | 7062320 | 2.05 | 9604714.4 | 3.27 | 11839283.6 | 4.02 | 9038252.7 | 6.32 | 12740518.83 | 7.3 | 8283592.17 | 7.9 | 23107008.3 | 9.88
57 | AJC_puddle_1:10 | 36673264.5 | 2.1 | 89678818.2 | 3.27 |  |  |  |  | 6664224 | 7.35 |  |  | 21606128.1 | 9.9
58 | CAL_Sul2_tap_water_1:10 | 5500338.2 | 2.07 | 38531413.5 | 3.27 | [8 empty] | 13448922.8 | 9.88
59 | AJC_rain_1:10 |  |  | 7147167.8 | 3.28 |  |  |  |  | 4206097.2 | 7.33 |  |  | 13029580.6 | 9.9
60 | Standard_2.5 | 24571937.4 | 2.05 | 32495435 | 3.27 | 54720430.8 | 4.02 | 39900935 | 6.3 | 22517056.4 | 7.3 | 66681839.4 | 7.9 | 97734361.7 | 9.85
61 | DI_water
62 | Standard_2.5 | 23406384.8 | 2.07 | 29202923.7 | 3.28 | 54764358.1 | 4.03 | 38984966.4 | 6.33 | 48099439.04 | 7.35 | 38817626.96 | 7.92 | 100670535 | 9.88
63 | KN_115_and_way_1:10 | 2075677.8 | 2.1 | 41316644.2 | 3.28 | [8 empty] | 13137944.2 | 9.92
64 | CAL_vapordistilled_water_1:10 |  |  | 42672282.8 | 3.28
65 | LI_tap_KD_1:10 |  |  | 52965839.7 | 3.27 |  |  |  |  | 5738619.3 | 7.33 |  |  | 6347122.4 | 9.82
66 | Standard_0.3 | 4226040.2 | 2.08 | 12186178.8 | 3.28 | 4852788.3 | 4.05 | 4037171.6 | 6.32 | 4379759.4 | 7.35 |  |  | 13016433.9 | 9.8
67 | DI_water |  |  | 8637895.4 | 3.28
68 | Standard_1.2 | 10438634.2 | 2.07 | 15089201 | 3.28 | 24958615.6 | 4.03 | 20093094 | 6.33 |  |  | 18256263.88 | 7.88 | 47625719.3 | 9.87
69 | KN_115_and_way_1:10 | 2155136.6 | 2.08 | 37270581.7 | 3.27 |  |  |  |  | 779559 | 7.27 |  |  | 12580742.6 | 9.83
70 | CAL_voss_artesian_water_1:10 |  |  | 45597010.2 | 3.28 | [8 empty] | 13947957 | 9.87
71 | KD_Poland_Spring_1:10 |  |  | 74356837.4 | 3.28 | [8 empty] | 115124346 | 9.87
72 | KN_115_and_way_1:10 | 1572684.7 | 2.13 | 40572018.2 | 3.28 | [8 empty] | 11630058.4 | 9.85
73 | DI_water
74 | Standard_1.2 | 11352339 | 2.08 | 17241833.4 | 3.28 | 24766254.7 | 4.03 | 17959754.2 | 6.37 | 23002224.21 | 7.37 | 18152507.79 | 7.9 | 47105449.8 | 9.83
75 | TA_Fiji_H2O_1:10 | 9660206.6 | 2.08 | 416075309.2 | 3.3 |  |  |  |  | 22470181 | 7.42 |  |  | 46226601.2 | 9.88
76 | AL_Croton_Reservoir_2ft_off_sh |  |  | 1249838493.6 | 3.32 |  |  |  |  | 117380593.6 | 6.63 |  |  | 130161537.2 | 9.83
77 | NY_Prita_FIlter_ | 41589204.3 | 2.07 | 472832179.1 | 3.3 | [6 empty] | 22312045 | 7.92 | 105352139.4 | 9.83
78 | TA_Fiji_H2O_1:10 | 9338281.4 | 2.08 | 414090315.8 | 3.3 |  |  | 8063865.6 | 5.47 | 20505161 | 7.4 |  |  | 45784219.3 | 9.87
79 | DI_water |  |  | 2084241.8 | 3.32
80 | STandard_2.5 | 21707132.3 | 2.07 | 33055767.8 | 3.3 | 48231348.7 | 4.05 | 34850785.3 | 6.37 | 43031736.43 | 7.38 | 34049128.07 | 7.93 | 88460620 | 9.87
81 | NY_616_Lobby_filtered_water_st | 31170648.2 | 2.08 | 435762504.5 | 3.3 | [6 empty] | 7968793.9 | 7.93 | 100548723.2 | 9.87
82 | RKS_tap_water_ALtschul | 45182063.9 | 2.07 | 473641963.6 | 3.28 |  |  |  |  | 14365033.3 | 7.37 |  |  | 136059040 | 9.83
83 | ES_Smart_H2O |  |  | 642858020.4 | 3.28
84 | TA_Fiji_H2O_1:10 | 9269542.6 | 2.08 | 419632997.1 | 3.3 |  |  |  |  | 23739516 | 7.38 |  |  | 43196687.4 | 9.9
85 | DI_water
86 | Standard_0.3 | 5849544.8 | 2.1 | 10979264.2 | 3.3 | 5182233.6 | 4.05 | 3993377.2 | 6.37 | 4948054.05 | 7.37 | 4671625.45 | 7.95 | 13158018.3 | 9.88
87 | Standard_0.6 | 6357744 | 2.07 | 7125220.4 | 3.28 | 11857522.8 | 4.03 | 9289317.8 | 6.35 | 13563373.13 | 7.35 | 10840673.49 | 7.9 | 24446256.8 | 9.9
88 | Standard_1.2 | 12318807.2 | 2.07 | 14217029.4 | 3.28 | 26349422 | 4.03 | 19264813.8 | 6.32 | 23383200.41 | 7.35 | 19684082.16 | 7.88 | 47137600.7 | 9.85
89 | Standard_2.5 | 26170111 | 2.07 | 28405869.9 | 3.28 | 55019970.4 | 4.02 | 41308366 | 6.32 | 49744279.68 | 7.33 | 43976266.52 | 7.88 | 106789896.4 | 9.83
90 | Standard_5.0 | 57918998.3 | 2.07 | 54858511 | 3.28 | 113054560.2 | 4.02 | 80065927 | 6.3 | 98630202.86 | 7.3 | 87988965.54 | 7.87 | 209310038.2 | 9.82
91 | end