LADCP power requirements

For a single head, using RDI Plan and M Visbeck's parameters, the power load is approx 3.3 W.  Double this for 2-head operation, and figure 1 hour per 1000 m of cast depth.  Eg a 4000 m cast will take 4 hours = 4x7 = 28WH.  Our battery packs are rated conservatively at 470 WH at 0(C.   This yields approx 15 deep casts per pack.

BAH 020211

[image: image1.png]C:\MY DOCUMENTS\EQUIPMENT\L ADCP\LOWERED_PLAN.WHP

Options. |

300 kHz Warkhorse Manitar/Sentinel

[_[C1x]

¥ Immediately After Deployment

Time and Date:  [17.09.00 02/11/2002,

~Choices Payer Consequences
Number of Bins [31] 2 | | € tioh 11.89m  FirstBin Fange
Bin Size (m) [0.20-13.11] [ 1ooof| (& low 261.89m LastBin Range
Pings Per Ensemble 3] B = 13345m MexRenge
Interval (hirs) [00:00:03] [ 000003 | | ¢ 33Wh Batiery Usage
Deployment Duration (days): cin Temperature: | + 00 (DegC)
Transduger Depth (m) 00 10emfs Standard Devistion
Saliniy: (ppY) 3 1152606 Byte Ensembles
Magnefic Variation (deg). ~ 0o 070MB  Storage Reduired
~FirstPing Date

¥ Record Intemally (ADCP)
I Send Date Out Serial Port

Defautts

Undo.

[~ Notes





