LDEO ADCP battery case

Length overall (without connector):	19.125”
Diameter of case:			  5.45” +/- .02” (due to variations in coating)
Max diameter of pvc endcap clamps:	 6”   (varies +/- 0.1”)
End connector stands 5/8” beyond endcap

Dry weight with battery pack  is approx 35 lbs.

Material:  hard coated, anodized aluminum;  PVC retaining clamps held by 316 SS hose clamps.  No provision for sacrificial anode.

Designed for max 6000 dbar.

Battery pack specifications:

   35 alkaline D cells (duracell mn1300) in series;  5 stacks of 7 cells each, delivering approximately 470 Wh at 0C.