## Standards
Standards Run During Analysis
|  |  |  | Std concentrations | [6 empty] | measurements
Run | Std | Std | dilution | Fluoride | Chloride | Nitrite | Bromide | Nitrate | Phosphate | Sulphate | Fluoride | Chloride | Nitrite | Bromide | Nitrate | Phosphate | Sulphate | Comments
No | No | name | factor | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (area unit) | (area unit) | (area unit) | (area unit) | (area unit) | (area unit) | (area unit)
undiluted standard |  |  | 1 | 20 | 30 | 100 | 100 | 100 | 150 | 150 | - | - | - | - | - | - | -
1 |  | std #4 (2.5mL) | 40 | 0.5 | 0.75 | 2.5 | 2.5 | 2.5 | 3.75 | 3.75 | 24838051.6 | 50198445 | 77112857 | 70701794.4 | 86244148.4 | 71758895.4 | 182507187.2
2 |  | std #5 (5.0mL) | 20 | 1 | 1.5 | 5 | 5 | 5 | 7.5 | 7.5 | 61816155.2 | 97151455 | 158337376.6 | 145508613.4 | 180931646.5 | 147619872.6 | 371111038.6
7 |  | Std #1 (0.3mL) | 333.3333 | 0.06 | 0.09 | 0.3 | 0.3 | 0.3 | 0.45 | 0.45 |  | 6805226.4 | 9135891.9 | 7617972 | 11894103.5 | 7886917 | 23651635.8
8 |  | Std #3 (1.2mL) | 83.3333 | 0.24 | 0.36 | 1.2 | 1.2 | 1.2 | 1.8 | 1.8 | 14320018.5 | 27394590 | 39136518.8 | 30779712.1 | 42575227 | 33546500.4 | 94553230.7
13 |  | Std #1 (300 ul) | 333.3333 | 0.06 | 0.09 | 0.3 | 0.3 | 0.3 | 0.45 | 0.45 |  |  | 6736151.8 | 8997618.4 | 11995876.6 | 8125700 | 27753795.5
14 |  | Std #2 (600 ul) | 166.6667 | 0.12 | 0.18 | 0.6 | 0.6 | 0.6 | 0.9 | 0.9 | 3030010.2 | 18461330.2 | 19340859 | 15738314.8 | 19232229.2 | 16420425.8 | 47090080
19 |  | Std #3 (1.2 ml) | 83.3333 | 0.24 | 0.36 | 1.2 | 1.2 | 1.2 | 1.8 | 1.8 | 10511518.4 | 30384594.7 | 33248506.8 | 31078809.5 | 41850645.2 | 33968921.6 | 92355135.1
20 |  | Std #2 (0.6 ml) | 166.6667 | 0.12 | 0.18 | 0.6 | 0.6 | 0.6 | 0.9 | 0.9 | 6352251.6 | 14264915.4 | 15825062.4 | 15416930 | 21473477 | 15290666.6 | 47101746.6
25 |  | Std #4 (2.5 ml) | 40 | 0.5 | 0.75 | 2.5 | 2.5 | 2.5 | 3.75 | 3.75 | 35311084 | 58158156.1 | 74527388.6 | 72280941.1 | 91149521.4 | 73297945.8 | 192933407.3
31 |  | Std #5 (5 ml) | 20 | 1 | 1.5 | 5 | 5 | 5 | 7.5 | 7.5 | 61979348.6 | 101225540.1 | 166375980.4 | 145612181.3 | 185133246.6 | 148221174.3 | 380281942.7
34 |  | Std #2 (600 ul) | 166.6667 | 0.12 | 0.18 | 0.6 | 0.6 | 0.6 | 0.9 | 0.9 | 4306296.8 | 17734148.5 | 16218103.8 | 18707294.8 | 21826921.6 | 15920003.8 | 51766958.6
35 |  | Std #2 (600 ul) | 166.6667 | 0.12 | 0.18 | 0.6 | 0.6 | 0.6 | 0.9 | 0.9 | 4395274.9 | 18280908.8 | 16888857 | 16168710.8 | 20235501.5 | 15530972.6 | 46637091.6
36 |  | Std #2 (600 ul) | 166.6667 | 0.12 | 0.18 | 0.6 | 0.6 | 0.6 | 0.9 | 0.9 | 3854468.8 | 14937936.6 | 16229095.6 | 15981947.4 | 21990941.8 | 21233021.1 | 52333384.8
37 |  | Std #2 (600 ul) | 166.6667 | 0.12 | 0.18 | 0.6 | 0.6 | 0.6 | 0.9 | 0.9 | 4946930.9 | 14563639.3 | 15628841.8 | 17599620.4 | 19518987.1 | 16546699.6 | 46911110.3
38 |  | Std #2 (600 ul) | 166.6667 | 0.12 | 0.18 | 0.6 | 0.6 | 0.6 | 0.9 | 0.9 | 6665597.4 | 15387057 | 18892265.1 | 16474194 | 21454992.6 | 16555086.7 | 45916819.8
Note on C3: Martin Stute: e,g, 300uL or 75ul