Snapshot Day 10/14/10 Data

(Salt Front RM 36)

RIVER MILE 144

Rensselaer Boat Launch, Forbes Rd., Rensselaer, NY

Alene Onion, Hudson River Estuary Program

Leah Penniman, Tech Valley High School - 9th grade

Environmental Science & Geography – 30 students

Location: Rensselaer Boat Launch

Area: Boat launch – beach area

Surrounding Land Use: Boat launch with small beach, wooded, landscaped, adjacent to urban residential area

Sampling Site: boat launch with surrounding beach area

Plants in area:

Water depth: unknown

River Bottom :

Times: All sampling 10:00AM to 11:00 AM

| ITEM | Time |  | Readings | Average Reading | Comments |
| --- | --- | --- | --- | --- | --- |
| Physical |  |  |  |  |  |
| Air Temperature | 10:00 AM-11:00 AM |  | 49F 9.44C |  |  |
| Wind Speed | Very slight breeze |  |  |  |  |
| Cloud Cover | Mostly cloudy |  |  |  |  |
| Weather today |  |  |  |  |  |
| Weather recently |  |  |  |  |  |
| Water | calm |  |  |  |  |
| Water Temperature | 10:00 -11:00 AM | 50F 10C |  |  |  |
| Turbidity (LaMotte) | 6 JTU |  |  |  |  |
| Chlorophyll |  |  |  |  |  |
| Chemical |  |  |  |  |  |
| DO (chemet color comparator) | 10:00 – 11:00 AM | 10C |  | 11 ppm | 100% |
| pH – pH meter | 10:00 – 11:00 AM | 6.0 |  |  |  |
| Phosphate - Chemet Color comparator | 10:00 – 11:00 AM | 0.2 mg/L |  |  |  |
| Nitrate – LaMotte color comparator | 10:00 – 11:00 AM | 2 ppm |  |  |  |
| Salinity* |  |  |  |  |  |
| Coliform Petrifilm plate 1 ml water • stated range is based on a 100 ml sample | 400 colonies per 100ml |  |  |  | * Acceptable range more than 20% of the samples NOT in excess of 2,400-5,000 |
| Shipping | 3 ships | recreational |  | southbound |  |