## Slide 1: Environmental Data Analysis with MATLAB or Python 3rd Edition Lecture 25

## Slide 2
Lecture 01 Intro; Using MTLAB or Python Lecture 02 Looking At Data Lecture 03 Probability and Measurement Error Lecture 04 Multivariate Distributions Lecture 05 Linear Models Lecture 06 The Principle of Least Squares Lecture 07 Prior Information Lecture 08 Solving Generalized Least Squares Problems Lecture 09 Fourier Series Lecture 10 Complex Fourier Series Lecture 11 Lessons Learned from the Fourier Transform
Lecture 12 Power Spectra Lecture 13 Filter Theory Lecture 14 Applications of Filters Lecture 15 Factor Analysis and Cluster Analysis Lecture 16 Empirical Orthogonal functions and Clusters Lecture 17 Covariance and Autocorrelation Lecture 18 Cross-correlation Lecture 19 Smoothing, Correlation and Spectra Lecture 20 Coherence; Tapering and Spectral Analysis Lecture 21 Interpolation and Gaussian Process Regression
Lecture 22 Linear Approximations and Non Linear Least Squares
Lecture 23 Adaptable Approximations with Neural Networks Lecture 24 Hypothesis testing Lecture 25 Hypothesis Testing continued; F-Tests Lecture 26 Confidence Limits of Spectra, Bootstraps
SYLLABUS
Notes: 26 lectures are sufficient to survey the material in the book. However, not every topic in the book is covered, so students should be encouraged to read the book.

## Slide 3: purpose of the lecture
continue
Hypothesis Testing
and apply it to testing the significance of
alternative models
Notes: The lecture finished the particle size test scenario and also discusses the
use of an F-test to evaluate the significance in differences in fit between
two alternative models.

## Slide 4: Review of Last Lecture

## Slide 5
Steps in Hypothesis Testing

## Slide 6: Step 1. State a Null Hypothesis some variation of the result is due to random variation
Notes: The Null Hypothesis should specify what result, in particular, if of interest.

## Slide 7: Step 2. Focus on a statistic that is unlikely to be large when the Null Hypothesis is true
Notes: The word ‘statistic’ is used here in the sense of a
‘diagnostic number derived from the data’.
For instance, the ‘sample mean’ (the mean of the data) fits this description.

## Slide 8: Step 3. Determine the value of statistic for your problem
Notes: Usually, the statistic is a result of the data analysis.

## Slide 9: Step 4. Calculate that the probability that a the observed value or greater would occur if the Null Hypothesis were true
Notes: This is simple, as long as you know what distribution the statistic follows.

## Slide 10: Step 5. Reject the Null Hypothesis only if such large values occur less than 5% of the time
Notes: You are working towards one of two conclusions:
The Null Hypothesis can be rejected, giving you confidence (but not complete certainty) that your result
is not due to random variation;
or
The Null Hypothesis cannot be rejected, meaning its likely that your result is due to random variation.

## Slide 11
An example
test of a particle size measuring device
Notes: This is just a hypothetical example.

## Slide 12: manufacturer's specs
machine is perfectly calibrated
particle diameters scatter about true value
measurement error is
σd2 = 1 nm2
Notes: The first claim is that the machine’s ‘ruler’ or ‘measuring scale’ is not biased, that what the machine
thinks i 1 nm is what SI says is 1 nm.
The second claim is that each measurement has error, and that its variance is as stated.

## Slide 13: your test of the machine
purchase batch of 25 test particles
each exactly 100 nm in diameter
measure and tabulate their diameters
repeat with another batch a few weeks later
Notes: Your presumption is that the test particles have no error, or at least, that whatever error
they have is negligible compared to the variance of the machine being tested.

## Slide 14: Results of Test 1
Notes: Go though each of the lines.
The number of particles being measured.
The true diameters of the particles
The mean of the diameters that were actually measured, which is (slightly) different than the true mean
The ‘true’ variance, that is, the one stated by the manufacturer
The variance of the diameters of the 25 particle that you measured, assuming that their true mean of 100 is known.
The variance of the diameters of the 25 particle that you measured, assuming that you didn’t know their mean and
had to estimate it from the data. Note that the number of degrees of freedom is N-1, not N in this case.

## Slide 15: Results of Test 2
Notes: Results of the second test. You might flash back to the Test 1 slides, and compare the numbers.

## Slide 16: Question 1 Is the Calibration Correct?
Null Hypothesis
The observed deviation of the average particle size from its true value of 100 nm is due to random variation (as contrasted to a bias in the calibration).
Notes: So the question is,
Is 100.055 and 99.951 significantly different from 100?

## Slide 17: in our case
the key question is
Are these unusually large values for Z ?
= 0.780 and 0.807
So values of |Z| greater than Zest are very common
The Null Hypotheses cannot be rejected
there is no reason to think the machine is biased
0.278 (test 1)
=
0.243 (test 2)
Notes: The Z statistic is Normal with zero mean and unit variance.
Here Z is the difference between the observed and true mean, normalized by the variance of the mean.
The probability that |Z| ≥ Zest is large, much larger than 0.05, so the Null Hypothesis cannot be
rejected.
Point out the difference between
“There’s no reason to think the machine is biased”
and
“The machine is not biased”.

## Slide 18: Question 2 Is the variance in spec?
Null Hypothesis
The observed deviation of the variance from its true value of 1 nm2 is due to random variation (as contrasted to the machine being noisier than the specs).
Notes: So the question is,
Is 0.876 and 0.974 significantly different from 1?

## Slide 19
the key question is
Are these unusually large values for χ2 ?
Results of the two tests
0.640 (test 1)
=
0.499 (test 2)
The Null Hypotheses cannot be rejected
there is no reason to think the machine is noisy
Notes: The chi-squared statistic is one of the three non-Normal distributions that we discussed in the previous lecture.

## Slide 20: End of Review now continuing this scenario …

## Slide 21: Question 1, revisited Is the Calibration Correct?
Null Hypothesis
The observed deviation of the average particle size from its true value of 100 nm is due to random variation (as contrasted to a bias in the calibration).
Notes: This is the same Null Hypothesis as before ...

## Slide 22: suppose the manufacturer had not specified a variance then you would have to estimate it from the data
= 0.876 and 0.894
Notes: ... but the statistic is different, because you don’t know the true variance and must use an estimate of it.
The point here is that if you have to
estimate a variance
then you are adding more random variation into the problem
for now you have two estimated quantities, mean and variance,
whereas before you just had one (mean).

## Slide 23: but then you couldn’t form Z since you need the true variance
Notes: Z needs to be Normal.
If you replace the true variance with the estimated variance, then the resulting
quantity is not Normal.

## Slide 24: last lecture, we examined a quantity t, defined as the ratio of a Normally-distributed variable and something that has the form as of an estimated variance
Notes: Pont out that the quantity in the denominator is just the square root of the estimated
variance of a set of N Normall-distributed variables, each with zero mean and unit true variance.

## Slide 25
so we will test t
instead of Z
Notes: Thus if you replace the true mean with the estimated mean, you get a
t-distributed variable.

## Slide 26: in our case
Are these unusually large values for t ?
So values of |t| greater than test are very common
The Null Hypotheses cannot be rejected
there is no reason to think the machine is biased
0.297 (test 1)
=
0.247 (test 2)
0.768 (test 1)
=
0.808 (test 2)
Notes: Point out that the MatLab function for the cumulative t-distribution
is tcdf(t, N)
where N is the degrees of freedom.

## Slide 27
PtA = 1.0 - (stats.t.cdf((tA),NA)-
stats.t.cdf(-(tA),NA));
MATLAB
Python
Notes: Calculating the probabilities P(|t|>t_est). This is a two-sided test.

## Slide 28: Question 3 Has the calibration changed between the two tests?
Null Hypothesis
The difference between the means is due to random variation (as contrasted to a change in the calibration).
100.055 (test 1)
=
99.951 (test 2)
Notes: The second mean is smaller than the first. Is it possible that the
machine’s “ruler” (internal length standard) is shrinking with time?
In my opinion, this is the single most useful Hypothesis test in all of data analysis.

## Slide 29: since the data are Normal their means (a linear function) is Normal and the difference between them (a linear function) is Normal
Notes: So the difference between the means can be normalized into a Z-distributed quantity.

## Slide 30: since the data are Normal their means (a linear function) is Normal and the difference between them (a linear function) is Normal
if c = a – b then σc2 = σa2 + σb2
Notes: This is just standard error propagation.
In our case, a and b are the two means
and c is their difference.
The variance of c is calculated by standard error propagation.

## Slide 31: so use a Z test
in our case
Zest = 0.368
Notes: Note that this is a “new” definition of Z. It’s key attributes are that it is
Normally-distributed
has zero mean
and
has unit variance.

## Slide 32
= 0.712
Values of |Z| greater than Zest are very common
so the Null Hypotheses cannot be rejected
there is no reason to think the bias of the machine has changed
using MatLab
Notes: Again, emphasize that
“There’s no reason to think that bias has changed”
is not the same as
“The bias has not changed”.
We cannot rule out that it changed. We can only state that there is no evidence that it changed.

## Slide 33: Question 4 Has the variance changed between the two tests?
Null Hypothesis
The difference between the variances is due to random variation (as contrasted to a change in the machine’s precision).
0.896 (test 1)
=
0.974 (test 2)
Notes: Point out that the variance is larger in the second test. Perhaps the machine is getting “noisier”?

## Slide 34: last lecture, we examined the distribution of a quantity F, the ratio of variances
Notes: Point out that the numerator is just the
estimated variance of a set of N Normally-distributed variables, each with zero mean and unit true variance.
So is the denominator.
Hence F is ratio of variances, which is just what we want to test.
Also, point out that the individual summations are just chi-squared.

## Slide 35: so use an F test
in our case
F est = 1.110
Notes: Hence F can be computed from the chi-squared values that we previously computed.

## Slide 36
F
p(F)
1/Fest
Fest
whether the top or bottom χ2 in
is the bigger is irrelevant, since our Null Hypothesis only concerns their being different. Hence we need evaluate:
Notes: The tails of the distribution correspond to the case where one estimated variance is
much larger or much smaller than the other.
We want to know how much area is beneath the tails.

## Slide 37
MATLAB
if( F<1 ):
F=1/F;
PF = 1 - (stats.f.cdf(F,NA,NB)-
stats.f.cdf(1/F,NA,NB));
Python
Notes: The if-statement in the script assures that 1/F is smaller than F.

## Slide 38
= 0.794
Values of F greater than F est or less than 1/F est
are very common
so the Null Hypotheses cannot be rejected
there is no reason to think the noisiness of the machine has changed
Notes: The ratio of variance of between the first and second tests is close enough to unity that, in a high percentage of cases, it will have been caused by random variation.

## Slide 39
Another use of the F-test
Notes: This ends the machine scenario.
Note that I’ve left out one Null Hypothesis that is worked through in the text
(comparing difference in means when true variance is unknown, so t-test is used).
it would make the lecture too long.

## Slide 40: we often develop two alternative models to describe a phenomenon and want to know which is better?
Notes: In my opinion, this is the second most useful test in all of data analysis
(the first being the test of difference between two means).

## Slide 41: However any difference in total error between two models may just be due to random variation

## Slide 42: Null Hypothesis the difference in total error between two models is due to random variation

## Slide 43
linear fit
cubic fit
time t, hours
time t, hours
d(i)
d(i)
Example
Linear Fit vs. Cubic Fit?
Notes: The cubic fit is only a little better than the linear fit.
See if the students can pick up on any subtle differences.

## Slide 44
A) linear fit
B) cubic fit
time t, hours
time t, hours
d(i)
d(i)
Example
Linear Fit vs Cubic Fit?
cubic fit has 14% smaller error, E
Notes: The cubic fit is a little better near the left side of the plot, leading to 14% reduction in total error
relative to the linear fit.

## Slide 45: The cubic fits 14% better, but …
The cubic has 4 coefficients, the line only 2, so the error of the cubic will tend to be smaller anyway
and furthermore
the difference could just be due
to random variation
Notes: The second issues, the different number of coefficients, if corrected for during the calculation of
degrees of freedom.

## Slide 46: Use an F-test
degrees of freedom on linear fit:
νL = 50 data – 2 coefficients = 48
degrees of freedom on cubic fit:
νC = 50 data – 4 coefficients = 46
Notes: Technically, we should be normalizing E by the true variance of the measurements,
that is E → E/σd2
to yield a variable with unit variance.
However, the factor of 1/σd2 appears in both numerator and denominator, and cancels out.

## Slide 47: in our case
= 0.794
Values of F greater than F est or less than 1/F est
are very common
so the Null Hypotheses cannot be rejected
Notes: Emphasize that we cannot rule out the possibility that the cubic fit is better than the linear fit. All we can say is that the improvement can be accounted for by random variation, in a very high percentage of cases.

## Slide 48: in our case
= 0.794
Values of F greater than F est or less than 1/F est
are very common
so the Null Hypotheses cannot be rejected
there is no reason to think one model is ‘really’ better than the other
Notes: Again, emphasize the difference between
“there’s no reason to think one model is better than the other”
and
“one model is not better than the other”.