This directory contains all processed oso08_09 CTD data. Temperature and salinity are calibrated using both pre and post cruise calibration sheets and SeaBird calibration software. Oxygen data are processed for sensor drift and adjustments to bottle data. The later is much large than the earlier. The down trace data of each cast from the best sensors (T1, S1, and O2_1) are reported here. All recognizable spikes have been removed. Each *.asc file contains pressure (db), temperature(C), oxygen(ml/l), latitude, longitude, date/time, salinity(pps), depth(m), numbers gone into each bin.

Xiaojun Yuan 10/19/2010